## Slide 1: ALICE GAS SYSTEMS
  2019 Activities
  23/01/2020
  Louis-Philippe De Menezes
  EP/DT/FS – Gas Group

## Slide 2: TOPICS
  * Piquet Interventions
  Louis-Philippe De Menezes
  EP/DT/FS – Gas Group
  * Activities 2019
  * M&O interventions

## Slide 3
Piquet interventions
  EP/DT/FS – Gas Group
  Louis-Philippe De Menezes
45 piquet interventions in 2019
Chart: interventions
| TPC | TRD | TOF | HMPID | CPV | PMD | MCH | MTR | PGS | All
Sales | 10 | 17 | 9 | 6 | 3
Chart: Hour / system
| TPC | TRD | TOF | HMPID | CPV | PMD | MCH | MTR | PGS | ALL
Hours/system | 10 | 1 | 3 | 0.5 | 2.5
Chart: Work hours
| TPC | TRD | TOF | HMPID | CPV | PMD | MCH | MTR | PGS | All
Sales | 6.5 | 13.5 | 16 | 2 | 6
17h of stop
43h30 of direct work
Chart: 
| Gas ssytem faillure | External reasons
Sales | 12.5 | 5.5
External reasons:
Supply
Atmospheric phenomenons
Power cuts
17% / 83%

## Slide 4
M&O interventions
  EP/DT/FS – Gas Group
  Louis-Philippe De Menezes
120 M&O interventions
Chart: 
| TPC | TRD | TOF | HMPID | CPV | MCH | MTR | All
Sales | 27 | 13 | 6 | 4 | 6 | 5 | 23 | 36

## Slide 5
Software changes
Power supply change in almost all systems
Buffer pressure ( Safety Validation)
Safety valves checks
Filters change / cleaning
  EP/DT/FS – Gas Group
  Louis-Philippe De Menezes
Example of activities 2019
MTR Pump filter
Buffer pressure tests
TPC pump module
M&O interventions

## Slide 6
Activitie
  EP/DT/FS – Gas Group
  Louis-Philippe De Menezes
Example of activities 2019
New module ( CPV Humidifier)
TPC pump module cleaning
Collaboration for gas analysis (MTR)
Periodic checks
Modification of TPC filter place
NEW CPV Humidifier Rack + electrical chassi construction
MTR tests
TPC pump module

## Slide 7
ThANK you