## Slide 1: GEMROC Discussion

## Slide 3: Front-End Architecture
Waveform sampling
Self-triggered channel
Preamp
Shaper
Signal processing
+
ADC
Pipeline
other channels
other channels
ADC
Preamp
Hit detection
Feature extraction
Shaper 2
Shaper 1
Timestamp
Feature 1
Feature 2
Memory
RAM/
Analog
other channels

## Slide 4
what is the minimum threshold?
is this the full dynamic range or the end of scale for different gain settings?

## Slide 5
?

## Slide 6
CD = ?

## Slide 7
Chart: ENC vs. Ts (W/L = 2.37m/0.4u; Id = 2m; Cd = 20pF)
| 2.000000000000001E-8 | 3.0000000000000017E-8 | 4.0000000000000021E-8 | 5.0000000000000024E-8 | 6.0000000000000034E-8 | 7.0000000000000031E-8 | 8.0000000000000041E-8 | 9.0000000000000065E-8 | 1.0000000000000007E-7 | 1.1000000000000006E-7 | 1.2000000000000004E-7 | 1.3000000000000008E-7 | 1.4000000000000006E-7 | 1.5000000000000002E-7 | 1.6000000000000008E-7 | 1.7000000000000009E-7 | 1.800000000000001E-7 | 1.9000000000000009E-7 | 2.0000000000000004E-7
ENCi | 109.3946 | 133.9805 | 154.7074 | 172.9681 | 189.4771 | 204.6586 | 218.7893 | 232.0611 | 244.6139 | 256.5532 | 267.9611 | 278.9027 | 289.431 | 299.5896 | 309.4148 | 318.9374 | 328.1839 | 337.1769 | 345.9362
ENCw | 823.2056 | 672.1446 | 582.0943 | 520.641 | 475.278 | 440.0219 | 411.6028 | 388.0629 | 368.1487 | 351.0161 | 336.0723 | 322.8878 | 311.1425 | 300.5922 | 291.0471 | 282.3572 | 274.4019 | 267.0832 | 260.3205
ENCf | 81.7744 | 81.7744 | 81.7744 | 81.7744 | 81.7744 | 81.7744 | 81.7744 | 81.7744 | 81.7744 | 81.7744 | 81.7744 | 81.7744 | 81.7744 | 81.7744 | 81.7744 | 81.7744 | 81.7744 | 81.7744 | 81.7744
ENC | 834.459 | 690.2291 | 607.8282 | 554.6819 | 518.1484 | 492.1296 | 473.2575 | 459.4912 | 449.5069 | 442.4012 | 437.5326 | 434.431 | 432.7436 | 432.1998 | 432.5887 | 433.7439 | 435.532 | 437.8456 | 440.597
Chart: ENC vs. Cd (W/L = 2.37m/0.4u; Id = 2mA)
| 2.0000000000000012E-12 | 4.0000000000000023E-12 | 6.0000000000000043E-12 | 8.0000000000000047E-12 | 1.0000000000000009E-11 | 1.2000000000000005E-11 | 1.4000000000000008E-11 | 1.6000000000000009E-11 | 1.8000000000000006E-11 | 2.0000000000000008E-11 | 2.2000000000000011E-11 | 2.4000000000000011E-11 | 2.6000000000000017E-11 | 2.8000000000000016E-11 | 3.0000000000000019E-11 | 3.2000000000000019E-11 | 3.4000000000000018E-11 | 3.6000000000000018E-11 | 3.8000000000000024E-11
ENCi | 172.9681 | 172.9681 | 172.9681 | 172.9681 | 172.9681 | 172.9681 | 172.9681 | 172.9681 | 172.9681 | 172.9681 | 172.9681 | 172.9681 | 172.9681 | 172.9681 | 172.9681 | 172.9681 | 172.9681 | 172.9681 | 172.9681
ENCw | 156.53 | 196.9868 | 237.4436 | 277.9003 | 318.3571 | 358.8139 | 399.2706 | 439.7274 | 480.1842 | 520.641 | 561.0977 | 601.5545 | 642.0113 | 682.468 | 722.9248 | 763.3816 | 803.8383 | 844.2951 | 884.7519
ENCf | 24.5854 | 30.9397 | 37.294 | 43.6484 | 50.0027 | 56.3571 | 62.7114 | 69.0657 | 75.4201 | 81.7744 | 88.1287 | 94.4831 | 100.8374 | 107.1918 | 113.5461 | 119.9004 | 126.2548 | 132.6091 | 138.9634
ENC | 234.5721 | 263.9679 | 296.122 | 330.2298 | 365.7451 | 402.2953 | 439.6223 | 477.544 | 515.9293 | 554.6819 | 593.73 | 633.0188 | 672.5062 | 712.1592 | 751.9514 | 791.8621 | 831.874 | 871.9733 | 912.1484
shaping time
detector capacitance
Current Noise
White Noise
1/f Noise
* TSMC 0.35um data from the web

## Slide 8
Chart: Ts
| 2E-8 | 4.0000000000000001E-8 | 6.0000000000000008E-8 | 8.0000000000000002E-8 | 9.9999999999999995E-8 | 1.1999999999999999E-7 | 1.4000000000000001E-7 | 1.6E-7 | 1.8E-7
Cd = 10pF | 470.4783 | 360.3829 | 327.6624 | 319.5147 | 322.0445 | 329.8239 | 340.331 | 352.2756 | 364.9546
Cd = 20pF | 756.2853 | 554.3266 | 476.4728 | 439.1857 | 420.9342 | 413.1695 | 411.7063 | 414.2327 | 419.3697
Cd = 40pF | 1334.3199 | 958.4958 | 799.6628 | 711.2083 | 656.0627 | 619.7913 | 595.4036 | 579.0254 | 568.3038
Chart: ENC vs. Id & Ts (W/L = 2.37m/0.4u; Cd = 20pF)
| 2E-8 | 4.0000000000000001E-8 | 6.0000000000000008E-8 | 8.0000000000000002E-8 | 9.9999999999999995E-8 | 1.1999999999999999E-7 | 1.4000000000000001E-7 | 1.6E-7 | 1.8E-7
Id = 1mA | 988.4436 | 714.0061 | 601.701 | 542.3536 | 508.1302 | 488.0758 | 476.83 | 471.4026 | 469.9754
Id = 2 mA | 834.459 | 607.8282 | 518.1484 | 473.2575 | 449.5069 | 437.5326 | 432.7436 | 432.5887 | 435.532
Id = 3mA | 756.2853 | 554.3266 | 476.4728 | 439.1857 | 420.9342 | 413.1695 | 411.7063 | 414.2327 | 419.3697
shaping time
detector capacitance
Current Noise
White Noise
1/f Noise
* TSMC 0.35um data from the web
variable shaping: 50 … 300 ns

## Slide 9: Capacitive Matching
1/f noise dominant
white noise dominant
No preamplifier can provide optimum noise performance for every detector

## Slide 10
Chart: ENC vs. W (Id = 3mA)
| 5.0000000000000001E-4 | 1.0999999999999998E-3 | 1.6999999999999999E-3 | 2.3E-3 | 2.8999999999999998E-3 | 3.4999999999999996E-3 | 4.0999999999999995E-3 | 4.6999999999999993E-3 | 5.2999999999999992E-3
Cd = 10pF; Ts = 80ns | 333.1657 | 317.02 | 315.9164 | 319.0231 | 323.9831 | 329.9481 | 336.5285 | 343.5164 | 350.7889
Cd = 20pF; Ts = 120ns | 479.1869 | 433.4682 | 419.0022 | 413.4947 | 411.9622 | 412.5854 | 414.5257 | 417.3371 | 420.7586
Cd = 40pF; Ts = 250ns | 691.2014 | 606.3108 | 574.8639 | 558.5627 | 548.958 | 542.9795 | 539.2142 | 536.9117 | 535.6334

## Slide 11
How accurate is this across process variations?
Option: offline compensation using analog information ?

## Slide 12
32, 64, 128 channels? bonding/package?
OK!
internal synthesizer?
too many digital outputs;
serializer (@256MHz) ?
since zero-suppression comes natural with architecture, data bandwidth is probably low -> low speed serial
multiplexer for multiple chips?
fast-Or
variable shaping
reduce to minimum I/O count to DAQ
multipurpose I/O lines (eg. trg(read) + rst + testpulse)

## Slide 13: Features
fast-OR,
variable gain,
variable shaping,
peak detection
pile-up rejection,
baseline restorer,
baseline correction,
tail correction,
data compression,
zero suppression
Chip matrix
?