## Slide 1: Collaboration Board 02.2020 Technical readiness for Tb-155
MEDICIS Operator: Laura LAMBERT

## Slide 2: Collection procedure
Heating
Separation
Optimization
Implantation

## Slide 3: Optimized heating during collection
Outgassing
  Materials remaining in target
Temperature for optimization
  Hot enough to view Tb
  Keeping target cool enough so not to evaporate Tb
Initial rate
  Avoid tripping the target
  Efficient with time – minimal wait
Collection parameters
  Hot enough to maximize extraction of materials
  Slow enough rate to not extract all at once
Fig 1. Tb-155 Dec 3rd – target trip
Fig 2. Tb-155 Aug 5th – optimal heating

## Slide 4: Separation and Beam Optics
Fig 1. pre-optimization, 03.09
Fig 4. Electrode position 70mm, 03.12
Fig 5. Electrode position 60mm, 03.12
Fig 6. Electrode position 55mm, 03.12
Fig 2. Tuning deflectors, 27.11
Fig 3. Tuning deflectors, 27.11

## Slide 5: Lasers on/off – Tb155/Gd155 centered
Laser on, 20.5nA
Laser off, 8.3nA

## Slide 6: Beam alignment and implantation
Fig 3. Foils and scintillator in collection chamber
Fig 1. BX60 = 15nA, 06.08
Fig 2. BX40 = 0.98nA, 06.08

## Slide 7: Target #671M 05.08 -> 08.08
Fig 1. Target = 700A, day1
Fig 2. Target = 730A, day2
Gd foil irradiated at Arronax
  Foil loaded into target at Arronax
  Charged target shipped to CERN
Outgassing normal
  Hot target achieved by the afternoon
  Optimisation complete after only a few hours
  Collection time successfully maximised
Smooth run
Fig 3. Target = 730A, day3

## Slide 8: Target #645M 02.09 -> 06.09
Fig 1. Target = 350A,1st first view of 155
Fig 2. Lasers optimized, day2
Gd foil irradiated at Arronax
  Foil loaded into target at Arronax
  Charged target shipped to CERN
Outgassing normal
  Hot target achieved by the afternoon
  Optimisation complete after only a few hours
  Collection time successfully maximised
Laser on/off ratios not realistic
  If values were correct, would have collected total activity in 1hr
Received by SCK-CEN
  Successfully removed 95% of Tb-155 activity

## Slide 9: Target #645M 26.11 -> 27.11
Fig 3. 155 centered, according to previous days magnet calibration - does not match field
First foil to go through radiochemistry post-irradiation at Arronax!
  Issues with radiochemistry resulted in ~75% of lost activity
  Boat with evaporated material sent to CERN and charged target in Class A Lab fumehood
Unsuccessful run
  Strong outgassing - target tripped several times
  Unable to go above 30kV with vacuum instability
  Software issues with beam optics
  Power cut 1.5 hrs after collection started – line broke
Fig 1. Loading boat into target
Fig 2. Laser on/off mass scan – only 1 visible mass

## Slide 10: Target #671M 03.12 -> 05.12
Fig 2. Damaged extraction electrode
Gd foil irradiated at Arronax
  Radiochemistry post-irradiation successful
  Charged target with boat in CERN Class A Lab fumehood
Collection
  Strong outgassing – target tripped several times
  Image mirrored to start
  Reduction in surface ions observed due to ion capacity issues
  Minimal laser effects visible – acting more like heating effect
    Laser on/off on FC30 <1pA
Issues with the extraction electrode
Fig 1. EOC

## Slide 11: Summary of Tb-155 collections for 2019
Aug 8th and Sept 2nd
  no radiochemistry
  Both relatively smooth runs
  Problems of tailing from neighboring masses continues
Nov 26th and Dec 3rd
  radiochemistry
  A lot of outgassing observed from both targets
  Many problems with controls, software, and power cuts
  Ion capacity issues
  Extraction electrode issues

## Slide 12: Conclusion
50MBq
50MBq
1GBq
2.5GBq
EOI
SOC
EOC
RAF
5% eff

## Slide 13
Thank-you! Merci!