## Slide 1
Agenda
Amplifiers
Magnet sandwich
Noise measurement
Lessons learned
Notes: Quick Update on what I have been working since november
A lot of time into learning process, therefore focus also on things stuck

## Slide 2
1.
2.
The second Amp is build in a copper case, therefore magnetproof
In the second Amp, IN and OUT are connected via coax [high impact]
The board of the second Amp has slightly improved layout
first Amp Vs second Amp
Problem: loose cables have a mechanical impact on the board
Solved by soldering the cables on the box

## Slide 3
Agenda
Amplifiers
Magnet sandwich
Noise measurement
Lessons learned
Notes: Fußzeilen!

## Slide 4
Construction of the magnet sandwich
B Field
Notes: Gewindestange = threaded rods

## Slide 5
Magnetic field inside
B Field
-20
-70
-55
-12
-50
-15
-60
-15
420
420
385
400
380
360
400
390
440
430
420
450
400
*Values in [mT]

## Slide 6
Construction of the magnet sandwich
B Field
Notes: Gewindestange = threaded rods

## Slide 7
Possible improvement for higher fieldstrength
B Field
B Field
1cm
0,5cm

## Slide 8
Agenda
Amplifiers
Magnet sandwich
Noise measurement
Lessons learned
Notes: Fußzeilen!

## Slide 9
The question behind my project
What influence does a [strong] magnetic field have on the equivalent input noise of my amplifier

## Slide 10
ZFL
H-Amp
Analysator
en, G1
zn, G2
Nn
en equivalent input noise [calculated]
Nn total output noise [Spectrum A.]
zn noise of the ZFL [calculated]
sn noise of the Sp.A. [Spectrum A.]
G1 Gain of my Amps [Network A.]
G2 Gain of the ZFL [Network A.]
en2G12 G22 + zn2G22+sn2 = Nn2
…Units…
Measured data vs. Calculated data
Labview
Mathematica
How to spectrum analyzer
RBW*#Points < Span -> interpolation
In practical terms:

## Slide 11
Frequency in Log(Hz)
Noise density in Log( V/√Hz)
Without Magnet
With Magnet
But:
RBW*#Points < Span -> interpolation

## Slide 12
Agenda
Amplifiers
Magnet sandwich
Noise measurement
Lessons learned
Notes: Fußzeilen!

## Slide 13
Hardwelding is a thing…
1.
My lessons learned at BASE
2.
3.
4.

## Slide 14
Hardwelding is a thing…
There are problems to look into and some not to…
Hardwelding is a thing…
1.
2.
3.
4.
My lessons learned at BASE

## Slide 15
There are problems to look into and some not to…
Don´t try to finish something in a rush on the same day…
Hardwelding is a thing…
1.
2.
3.
4.
My lessons learned at BASE

## Slide 16
There are problems to look into and some not to…
Don´t try to finish something in a rush on the same day…
Detailed sketches save measurement time…
Hardwelding is a thing…
1.
2.
3.
4.
My lessons learned at BASE

## Slide 17
There are problems to look into and some not to…
Don´t try to finish something in a rush on the same day…
Detailed sketches save measurement time…
Hardwelding is a thing…
1.
2.
3.
4.
My lessons learned at BASE
& good grounding is not trivial…