## Slide 1: R2E @ Pt5 - RadWG meeting
Presenting a concept
Prepared by M Gastal & S Maridor

## Slide 2
F. DELSAUX
ENVIRON 18 M
HT LIBRE 2600 mm
CHICANE
UJ56
1500
R562
VERS UJ56
VERS UJ57
UJ56 Shielding Option

## Slide 3
BLINDAGE UJ56
MUR FIXE ACIER
HAUTEUR 2000mm
COMPLEMENT
BRIQUETTES ACIER
HAUTEUR 600mm
BLINDAGE ACIER
DEMONTABLE
EP. 400mm
HAUTEUR 2000mm
MONORAIL
RAIL DE MANUTENTION
DES BLOCS DE BLINDAGE
300mm
800mm
300mm
400mm
xz view
UJ56 Shielding Option
F. DELSAUX

## Slide 4
UJ56 1st floor
Compensators
24 racks

## Slide 5
UJ56 Gnd Floor

## Slide 6: Issues in the UJ56
Shielding effectiveness GND Floor ~10
Shielding effectiveness 1st Floor ~2

## Slide 7: Issues in the UJ56
Shielding effectiveness GND Floor ~10
Shielding effectiveness 1st Floor ~2

## Slide 8: Goal and initial idea
Goal: Find a permanent solution to relocate the electronics in the UJ56
Limitation: For some equipment the cable length is critical (compensators)
Idea: Find some room in the USC55 if not detrimental to CMS

## Slide 9: Very first draft proposal
Move all or part of the EL safe room on the ground floor of the UJ56 into the USC55
Lower the power converters from the 1st floor of the UJ56 to the ground floor and build adequate shielding
Move all remaining racks from the 1st floor of the UJ56 into the USC55 (Cryogenics, WIC, Timing, Remote-Reset, UPS, Access Control, Network, AUG control, Electrical Distribution (Control), GSM, Fire/ODH)

## Slide 10
39racks

## Slide 11
UJ56 Gnd Floor
Area taken by power convertors
→ integration to be studied
Shilding

## Slide 13
5 transformers could be brought up and housed in a surface building together with other CMS electrical equipment (eg 3 MVA UPS)
All or part of the UJ56 safe room could be relocated in the freed area

## Slide 14
Service Area L-2
5 x 2MVA transformer to be
Relocated on the surface
USC55

## Slide 15
Footprint of the UJ56 safe room
→ Intergration to be studied
Service area L-2
USC55

## Slide 16
Footprint of the UJ56 safe room
→ Intergration to be studied
Service area L-2
USC55

## Slide 17
USC55
Footprint of the UJ56 safe room
→ Intergration to be studied
Service area L-2

## Slide 18
2 candidate areas to relocate the 24 racks from UJ56
  Preferred option: Top of CV room
  Back up: part of underground control room

## Slide 19
Top Of CV room
Area available for UJ56 racks
USC55

## Slide 20
Underground Ctrl room
USC55
24 racks (uj56 du 1er )
→ Integration to be studied

## Slide 21
Relocate UJ56 racks in USC55 control area
  Existing floor beams already suitable
If need be, build a second floor to house a control room