## Slide 1: CLIC-Module Meeting
Week 09 – 2020
A. Castilla
a.castilla@cern.ch

## Slide 2: XBOX3 – Lines A&B Functional Diagram

## Slide 3: XBOX3 – Lines A&B Functional Diagram (zoom)
Flow meter
LOAD
CHILLER

## Slide 4: Flow meters – XB3
Flow meters and switches available.
Vacuum channels available.

## Slide 5: XBox2 – SS

## Slide 6: Cooling Circuit - Series

## Slide 7: Temperature Sensors
Measure external temperature of the structure, depends on the contact.

## Slide 8: Wrap up
Flow meters available.
Resolution need to be checked.
Xbox 3 has a semi-easy way to add the channels.
Xbox 3 has envisioned high repetition tests (>400 Hz).
Xbox 2 holds the super structure.
Xbox 2 acquisition system is different and may prove harder to incorporate.
Structure powers well acquired in all the Xboxes.
Structure temperature measured by contact on the outside of its walls.