Elasticsearch Anomaly detection

---
Elasticsearch Service in Numbers
- 36 clusters
- O(190) entry points/use cases
- 3 major ES version 5.x, 6.x, 7.x
- ~250 data nodes, ~180 master and search nodes
- ~400 TB SSD space
- 400000 indices, 400 Billion documents
- Up to 8 Mio accesses / h
- Use cases from all over the place

---
What is the problem we want to solve ?
- The issue
  - Complexity of the service makes it difficult to spot issues in time
  - Elasticsearch health itself is often not terribly helpful
    - Most complains while the cluster is perfectly green, such as poor performance, read-only indices, full disks, misbehaving users, ...
    - When it changes color it’s often too late
    - When it’s yellow it does not mean that the cluster is down
  - There are plenty of internal metrics and logs which can give hints for problems
    - Internal monitoring with many dashboards and plots of metrics for investigation
  - Relevant information is often hidden
- Extract the currently relevant information, and display it on a single and simple dashboard
  - Something that tells us what to look at first
  - Something that looks for Anomalies

---
So … what is an Anomaly ?
Something that deviates from what is standard, normal, or expected.
Source: google.com

---
So … what is an Anomaly ?
Something that deviates from what is standard, normal, or expected.
Source: google.com
- Not necessarily bad
- Not necessarily a problem
- Possibly interesting

---
… what is standard, normal, or expected?
Something that we have seen in the past

---
… what is standard, normal, or expected?
Something that we have seen in the past
- Compare the current status to the past
- That’s what we do when we look at our dashboards: we compare the current status with the past
- No need for a PhD for that …
- Is that something we can teach our computers to do for us ?

---
… what is standard, normal, or expected?
Something that we have seen in the past
- Compare the current status to the past
- That’s what we do when we look at our dashboards: we compare the current status with the past
- No need for a PhD to do that …
- Is that something we can teach our computers to do for us ?

---
… what is standard, normal, or expected?
Something that we have seen in the past
- Compare the current status to the past
- That’s what we do when we look at our dashboards: we compare the current status with the past
- No need for a PhD to do that
- Is that something we can teach our computers to do for us ?

---
… what is standard, normal, or expected?
Something that we have seen in the past
- Compare the current status to the past
- That’s what we do when we look at our dashboards: we compare the current status with the past
- No need for a PhD to do that …
- Is that something we can teach our computers to do for us ?

---
YES, we can !
Source: Obama

---
Elasticsearch Anomaly detection in practice
History:
  - Technical student Jose Alonso, 2017 https://indico.cern.ch/event/687877
  - Summer student Jennifer Anderson, summer 2019 https://indico.cern.ch/event/836289/
  - Myself … eg. this talk (see references at the end of the talk)
Disclaimer: Not going into too many technical details here.

---
The short of it
- Data retrieval:
  - Sample metrics every 5 minutes on all nodes and clusters of the service
  - Use of service metrics, node health information, logfile entries
- Analysis
  - Time series anomaly detection using a one layer LSTM network and a moving average approach
  - Use 288 previous time steps (so 1 day of data), predict the next sample and compare with reality
- The mean squared error is used as anomaly score

---
Mechanics
ES- Service
Internal monitoring
https://es-perfmon.cern.ch
Data retrieval
and enrichment
cluster
Auth cron job,
every 5 minutes
Single, monthly index
Monthly index with scores
dashboards
Score evaluation
and alarming
cluster
Daily csv data export
cluster
models
training
CERNbox / EOS

---
NNW model
Mean squared error
(Time-)steps: 288 (1 day of data)
Training size/validation size = 4/1
Training data from all clusters
Remarks:
Using Keras/Tensorflow 2.1.0
Python3
CuDNNLstm implementation used for training
converted into standard LSTMs after training
Training time: ~3-4min/epoch (TESLA V100, RTX-2080 GPU)
About 612k distinct time samples for training and validation

---
Moving average
- Moving average calculation
  - For each feature take the average over the past N-1 samples as a prediction for the current value
  - Uses exactly the same pre-processing pipeline as for the ML data
  - Calculate the anomaly score between predicted and actual data
- Non ML, simple and fast
  - No need for any training
- Monitors different things than the network based approach
  - Looks only at a single cluster only
  - Complements the Network approach
  - Differences most visible in the classification step rather than in the score itself

---
Neural network
Moving average
Monitoring dashboards
Cloud: Clusters with highest scores
1h history, ordered by cluster score
Scores above a threshold
Delta for features with highest scores,
for classification
Upgrade of CERT cluster
OTG0054074

---
Classification example
Observation:
Anomaly in once cluster (monit6) at 10am
OK recovered after 5min
Confirmed by MAV approach
Feature values observed – predicted, Ordered by the absolute value of the difference.
Several things are happening here:
The cluster is slow
There is a search ongoing
The status changed (yellow to green)
Diagnostics:
A heavy search and recent indexing activity

---
Summary
- Released Anomaly detection for the ES service
  - Based on ML and moving average approach
  - Very few false positives
  - Some false negatives, being addressed as they are seen
  - Proven useful in daily operation
- Todo:
  - Code cleanup, optimisation and beautification ...
- Side effects
  - Feedback for GPU resources in batch
  - Steep learning curve

---
https://media.ccc.de/v/36c3-11006-der_deep_learning_hype

---
References
- Previous presentations
  - Original approach: https://indico.cern.ch/event/687877
  - New approach: https://indico.cern.ch/event/830947/
  - LSTMs: https://indico.cern.ch/event/836289/
  - Update: https://indico.cern.ch/event/851356/
  - Final approach: https://indico.cern.ch/event/879832/
- Code
  - https://gitlab.cern.ch/it-elasticsearch-project/es-ml

---
Questions and discussion