## CMS
SMS ALARM TEXT | TYPE | COMMENT
LHCGCS_CMS - Bad - CMSRPC_Gs_PCOUnAckAlDA - 03/16/2020 15:30:14 (milli: 050) | alarm | ? Not relevant for us
LHCGCS_CMS - Bad - CMSRPC_Gs_PCOUnAckAlDA - 03/16/2020 15:51:16 (milli: 320) | alarm | ? Not relevant for us
LHCGCS_CMS - Bad - CMSCSC_Gs_PCOUnAckAlDA - 03/16/2020 20:12:21 (milli: 330) | alarm | ? Not relevant for us
LHCGCS_CMS - Bad (Ack) - CMSCSC_Gs_PCOUnAckAlDA - 03/16/2020 20:12:21 (milli: 330) | alarm | ? Not relevant for us
LHCGCS_CMS - L - CMSRPC_Xh_CUPrAIAA - 03/17/2020 06:01:37 (milli 760) | warning
LHCGCS_CMS - Ok - CMSCSC_Gs_PCOUnAckAlDA - 03/17/2020 08:28:24 (milli: 650) | alarm | ? Not relevant for us
LHCGCS_CMS - Bad - CMSRPC_Gs_PCOUnAckAlDA - 03/17/2020 09:25:22 (milli: 710) | alarm | ? Not relevant for us
LHCGCS_CMS - Bad - CMSRPC_Di_RNotInRunAl - 03/17/2020 09:25:23 (milli: 490) | alarm | distribution problem?
LHCGCS_CMS - Ok - CMSRPC_Di_RNotInRunAl - 03/17/2020 09:25:36 (milli: 480) | alarm | distribution problem?
LHCGCS_CMS - HH down - CMSRPC_Di_PCV6928RLimAl - 03/10/2020 15:09:45 (milli: 850) | alarm | regulation group 3
LHCGCS_CMS - HH down - CMSRPC_Di_PCV6928RLimAl - 03/10/2020 15:09:45 (milli: 850) | warning | regulation group 3
LHCGCS_CMS - L - CMSRPC_Di_83ChamPRegAA - 03/17/2020 09:26:52 (milli: 530) | warning | chamber pressure rack 83
LHCGCS_CMS - LL - CMSRPC_Di_83ChamPRegAA - 03/17/2020 09:27:53 (milli: 200) | warning | chamber pressure rack 83
LHCGCS_CMS - Bad - CMSRPC_Gs_PCOUnAckAlDA - 03/17/2020 09:27:54 (milli: 200) | alarm | ? Not relevant for us
LHCGCS_CMS - HH - CMSRPC_Di_PCV6928RLimAl - 03/17/2020 09:31:50 (milli: 150) | alarm | regulation group 3
LHCGCS_CMS - HH - CMSRPC_Di_PCV6928RLimAl - 03/17/2020 09:31:50 (milli: 150) | warning | regulation group 3
LHCGCS_CMS - LL (Ack) - CMSRPC_Di_83ChamPRegAA - 03/17/2020 09:44:43 (milli: 380) | warning | chamber pressure rack 83
LHCGCS_CMS - LL down - CMSRPC_Di_83ChamPRegAA - 03/17/2020 09:44:43 (milli: 380) | warning | chamber pressure rack 83
LHCGCS_CMS - HH down - CMSRPC_Di_PCV6928RLimAl - 03/17/2020 09:32:30 (milli: 970) | warning | regulation group 3
LHCGCS_CMS - HH down - CMSRPC_Di_PCV6928RLimAl - 03/17/2020 09:32:30 (milli: 970) | alarm | regulation group 3
LHCGCS_CMS - Bad - CMSRPC_Gs_PCOUnAckAlDA - 03/17/2020 09:46:46 (milli: 930) | alarm | ? Not relevant for us
LHCGCS_CMS - Bad - CMSRPC_Di_RNotInRunAl - 03/17/2020 09:46:47 (milli: 720) | alarm | distribution problem?
LHCGCS_CMS - H - CMSRPC_Di_83ChamPRegAA - 03/17/2020 09:47:39 (milli: 540) | warning | chamber pressure rack 83
LHCGCS_CMS - L - CMSRPC_Di_83ChamPRegAA - 03/17/2020 09:49:37 (milli: 570) | warning | chamber pressure rack 83
LHCGCS_CMS - L - CMSRPC_Xh_BuPrAIAA - 03/17/2020 12:47:00 (milli: 860) | warning | buffer pressure low
LHCGCS_CMS - Bad - CMSRPC_Gs_PCOUnAckAlDA - 03/17/2020 13:04:24 (milli: 960) | alarm | ? Not relevant for us
LHCGCS_CMS - Bad - CMSRPC_Gs_HuNotInRunDA - 03/17/2020 13:06:13 (milli: 140) | alarm | ???
LHCGCS_CMS - L - CMSRPC_Xh_BuPrAIAA - 03/17/2020 13:22:56 (milli: 540) | warning | buffer pressure low
LHCGCS_CMS - Ok - CMSRPC_Gs_HuNotInRunDA - 03/17/2020 13:12:22 (milli: 470) | alarm | ???
LHCGCS_CMS - Ok - CMSRPC_Gs_PCOUnAckAlDA - 03/17/2020 13:04:26 (milli: 540) | alarm | ? Not relevant for us
LHCGCS_CMS - Bad - CMSRPC_Gs_PCOUnAckAlDA - 03/17/2020 15:15:38 (milli: 150) | alarm | ? Not relevant for us
LHCGCS_CMS - Bad - CMSAUX_Pr_12NoGas - 03/18/2020 13:53:39 (milli: 100) | alarm | isoB low | A now
LHCGCS_CMS - LL - CMSAUX_Pr_12ATankLevel - 03/18/2020 14:06:23 (milli: 670) | alarm | isoB low | A now
LHCGCS_CMS - Bad - CMSAUX_Pr_13NoGas - 03/18/2020 14:08:52 (milli: 760) | alarm | ArH2 low | A now
LHCGCS_CMS - LL - CMSAUX_Pr_13ATankLevel - 03/18/2020 14:10:35 (milli: 820) | alarm | ArH2 low | A now
LHCGCS_CMS - Bad - CMSAUX_Pr_11NoGas - 03/18/2020 14:35:27 (milli: 280) | alarm | sf6 low | A now
LHCGCS_CMS - LL - CMSAUX_Pr_11BTankLevel - 03/18/2020 14:35:29 (milli: 220) | alarm | sf6 low | A now
LHCGCS_CMS - Bad - CMSAUX_Pr_14NoGas - 03/18/2020 14:36:12 (milli: 640) | alarm | cf4 low | A now
LHCGCS_CMS - LL - CMSAUX_Pr_14BTankLevel - 03/18/2020 14:36:20 (milli: 630) | alarm | cf4 low | A now

## ALICE
SMS ALARM TEXT | TYPE | COMMENT
LHCGCS_Alice - HH - ALIAUX_Pr_11Flow - 03/16/2020 12:45 | alarm | SF6 low flow
LHCGCS_Alice - LL - ALIAUX_Pr_12BTankLevel - 03/18/2020 15:57 | alarm | Isobutane LL
LHCGCS_Alice - Ok - ALIAUX_Pr_16NoGas - 03/02/2020 8:44:48 (milli: 350) | alarm *late19/03 | CO2 no gas
LHCGCS_Alice - Ok - ALIAUX_Pr_18NoGas - 03/02/2020 9:10:33 (milli: 100) | alarm *late19/03 | Ne no gas
LHCGCS_Alice - HH down - ALIAUX_Pr_11Flow - 03/16/2020 14:12:17 (milli: 180) | alarm *late19/03 | SF6 low flow
LHCGCS_Alice - LL (Ack) - ALIAUX_Pr_12BTankLevel - 03/18/2020 15:57:35 (milli: 500) | alarm *late19/03 | Isobutane LL
LHCGCS_Alice - LL - ALIAUX_Pr_18ATankPress - 03/20/2020 08:28:47 (milli: 890) | alarm | Ne no gas
LHCGCS_Alice - LL - ALIAUX_Pr_18ATankLevel - 03/20/2020 08:30:05 (milli: 040) | alarm | Ne no gas
LHCGCS_Alice - LL - ALIAUX_Pr_18ATankLevel - 03/20/2020 08:36:18 (milli: 860) | alarm | Ne no gas

## LCHB
SMS ALARM TEXT | TYPE | COMMENT

## ATLAS
SMS ALARM TEXT | TYPE | COMMENT
LHCGCS_ATLAS - HH - ATLMDT_Pp_PV4003RLimAl- 03/16/2020 14:45 | alarm | pump regulation
LHCGCS_ATLAS - HH - ATLMDT_Pp_PV4003RLimAl- 03/16/2020 22:28 | alarm | pump regulation
LHCGCS_ATLAS - HH - ATLMDT_Pp_PV4003RLimAl- 03/16/2020 22:39 | alarm | pump regulation
LHCGCS_ATLAS - LL - ATLAUX_Pr_12ATankPress - 03/18/2020 11:46 | alarm | isobutane low
LHCGCS_ATLAS - LL - ATLAUX_Pr_12ATankLevel - 03/18/2020 12:05 | alarm | isobutane low
LHCGCS_ATLAS - LL - ATLAUX_Pr_12ATankPress - 03/18/2020 12:06 | alarm | isobutane low
LHCGCS_ATLAS - LL - ATLAUX_Pr_12ATankPress - 03/18/2020 12:13 | alarm | isobutane low
LHCGCS_ATLAS - LL - ATLAUX_Pr_12ATankPress - 03/18/2020 12:21 | alarm | isobutane low
LHCGCS_ATLAS - LL - ATLAUX_Pr_12ATankPress - 03/18/2020 12:24 | alarm | isobutane low
LHCGCS_ATLAS - LL (Ack) - ATLAUX_Pr_12ATankLevel - 03/18/2020 12:05:28 | alarm *late 19/03 | isobutane low
LHCGCS_ATLAS - LL down - ATLAUX_Pr_12ATankLevel - 03/18/2020 10:00:51 | alarm *late 19/03 | isobutane low
LHCGCS_ATLAS - LL (Ack) - ATLAUX_Pr_12ATankPress - 03/18/2020 12:24:09 | alarm *late 19/03 | isobutane low
LHCGCS_ATLAS - LL down - ATLAUX_Pr_12ATankPress - 03/19/2020 10:01:09 (milli:100) | alarm *late 19/03 | isobutane low