## Slide 1
Acknowledgment: Kyrre Sjobak– Roberto Corsini – Wilfrid Farabolini – Andrea Latina – Pasquale Arpaia
Wakefield kick measurements
in
Antonio Gilardi
RF development meeting, 21/10/2020

## Slide 2
    Experimental setup
    Measurement method
    Early results
    New experimental results
                I. #bunches/charge/bunch -length
                II. charge
                III. charge/bunch-length
                IV. #bunches/charge/bunch -length
    Consideration «TODO list»
    Future development
Outline:

## Slide 3
Experimental setup

## Slide 4
YAG screen
OTR screen
Chromox screen
Radiation monitors
WFM
TD26CC
H/V correctors
iBPM
Experimental setup
GIRDER

## Slide 5
Experimental setup
Move the accelerating structure

## Slide 6
Experimental setup
Move the accelerating structure

## Slide 7
Scanning the beam position using a magnetic bump
Calibration of bump accuracy about 1% (as long as energy is correctly measured)
Imposed V position [mm]
Imposed V position [mm]
V position on screen [mm]
V position on screen [mm]
2020-05-28_14-32-33_V730-30pC-1.6ps-1bunch-205MeV
2020-05-28_14-25-52_V620-30pC-1.6ps-1bunch-205MeV
205 MeV, 1 bunch, 16 pC
205 MeV, 1 bunch, 16 pC
H/V correctors
YAG screen
OTR screen
Chromox screen
Radiation monitors
WFM
TD26CC
iBPM
GIRDER

## Slide 8
Measurement method

## Slide 9
Measurement method
High Charge: 500pC
Low Charge: 50pC
2nd screen position [mm]
2nd screen position [mm]
1st screen position [mm]
1st screen position [mm]

## Slide 10
Measurement method
High Charge: 500pC
Low Charge: 50pC
2nd screen position [mm]
2nd screen position [mm]
1st screen position [mm]
1st screen position [mm]

## Slide 11
Slope on the 2nd screen
Beam energy (measured in VESPER)
Beam charge (measured in THz)
Form factor (from simulation)
Measurement method
High Charge: 500pC
Low Charge: 50pC
2nd screen position [mm]
2nd screen position [mm]
1st screen position [mm]
1st screen position [mm]

## Slide 12
1 Scan
N-points
10 acquisitions
Non-gaussian beam
Gaussian beam
Measurement method

## Slide 13
Early results
Thanks to a first comparison with simulation a wrong calibration of the ICT in the CLEAR beam line was discovered.
This was corrected in spring 2019
After correction
ICT
BPM
From the Wakefield simulations we expect: 115 V/(pC m mm).
From the data we got a value of: 1200 V /(pC m mm).
10 bunches
1 bunch
16 bunches
Kick independent of #bunches, scaling with bunch charge.
Indication to be Dominated from short range wake

## Slide 14
Some new measurements were performed, following the results for the later run performed
New experimental results

## Slide 15
New experimental results – I (#bunches/charge/bunch-length)
# Bunches  1 1 1 1 1 51 51 37 17 1 6
Charge per pulse  23 68 122 171 253 14538 14500 9703 3597 189 1566 [pC]
Bunch length 1.57 3.92 4.05 3.88 3.48 5.26 5.26 5.16 4.50 5.04 4.53 [ps]
RUN in 2020-07

## Slide 16
New experimental results – I (#bunches/charge/bunch-length)
# Bunches  1 1 1 1 1 51 51 37 17 1 6
Charge per pulse  23 68 122 171 253 14538 14500 9703 3597 189 1566 [pC]
Bunch length 1.57 3.92 4.05 3.88 3.48 5.26 5.26 5.16 4.50 5.04 4.53 [ps]
RUN in 2020-07

## Slide 17
Normalized on the charge per pulse
Normalized on the charge per bunch
New experimental results – I (#bunches/charge/bunch-length)
# Bunches  1 1 1 1 1 51 51 37 17 1 6
Charge per pulse  23 68 122 171 253 14538 14500 9703 3597 189 1566 [pC]
Bunch length 1.57 3.92 4.05 3.88 3.48 5.26 5.26 5.16 4.50 5.04 4.53 [ps]
RUN in 2020-07

## Slide 18
# Bunches  1 1 1 1 1 51 51 37 17 1 6
Charge per pulse  23 68 122 171 253 14538 14500 9703 3597 189 1566 [pC]
Bunch length 1.57 3.92 4.05 3.88 3.48 5.26 5.26 5.16 4.50 5.04 4.53 [ps]
RUN in 2020-07
New experimental results – I (#bunches/charge/bunch-length)
Normalizing the result using the model evaluated in simulations

## Slide 19
# Bunches  1 1 1 1 1 51 51 37 17 1 6
Charge per pulse  23 68 122 171 253 14538 14500 9703 3597 189 1566 [pC]
Bunch length 1.57 3.92 4.05 3.88 3.48 5.26 5.26 5.16 4.50 5.04 4.53 [ps]
Normalizing the result using the model evaluated in simulations
RUN in 2020-07
New experimental results – I (#bunches/charge/bunch-length)
Kick/Model

## Slide 20
Single bunch
Charge per bunch  254 167 123 69 10 [pC]
Bunch length  4.04 4.09 3.98 4.05 3.90 [ps]
New experimental results – II (charge)
RUN in 2020-05
Almost with a constant bunch length

## Slide 21
Single bunch
Charge per bunch  254 167 123 69 10 [pC]
Bunch length  4.04 4.09 3.98 4.05 3.90 [ps]
New experimental results – II (charge)
RUN in 2020-05
Almost with a constant bunch length
Normalized on the charge per bunch

## Slide 22
RUN in 2020-05
Single bunch
Charge per bunch  254 167 123 69 10 [pC]
Bunch length  4.04 4.09 3.98 4.05 3.90 [ps]
New experimental results – II (charge)
Kick/Model

## Slide 23
New experimental results – III (charge/bunch-length)
20 bunches
Charge per bunch  511 221 122 41 369 229 [pC]
Bunch length  3.9 3.33 3.01 2.91 3.28 3.03 [ps]
9x 4x 4x 4x 3x 3x
RUN in 2020-09

## Slide 24
New experimental results – III (charge/bunch-length)
20 bunches
Charge per bunch  511 221 122 41 369 229 [pC]
Bunch length  3.9 3.33 3.01 2.91 3.28 3.03 [ps]
9x 4x 4x 4x 3x 3x
RUN in 2020-09
Normalized on the charge per bunch

## Slide 25
RUN in 2020-09
20 bunches
Charge per bunch  511 221 122 41 369 229 [pC]
Bunch length  3.9 3.33 3.01 2.91 3.28 3.03 [ps]
9x 4x 4x 4x 3x 3x
New experimental results – III (charge/bunch-length)
Kick/Model

## Slide 26
New experimental results – IV (#bunches/charge/bunch-length)
RUN in 2020-09
#Bunches  20 10 5 1 40
Charge per bunch  379 397 394 380 269 [pC]
Bunch length  4.38 4.24 3.91 3.30 3.48 [ps]
3x 3x 3x 3x 3x

## Slide 27
New experimental results – IV (#bunches/charge/bunch-length)
RUN in 2020-09
#Bunches  20 10 5 1 40
Charge per bunch  379 397 394 380 269 [pC]
Bunch length  4.38 4.24 3.91 3.30 3.48 [ps]
3x 3x 3x 3x 3x

## Slide 28
New experimental results – IV (#bunches/charge/bunch-length)
RUN in 2020-09
#Bunches  20 10 5 1 40
Charge per bunch  379 397 394 380 269 [pC]
Bunch length  4.38 4.24 3.91 3.30 3.48 [ps]
3x 3x 3x 3x 3x

## Slide 29
RUN in 2020-09
#Bunches  20 10 5 1 40
Charge per bunch  379 397 394 380 269 [pC]
Bunch length  4.38 4.24 3.91 3.30 3.48 [ps]
3x 3x 3x 3x 3x
New experimental results – IV (#bunches/charge/bunch-length)
Normalized on the charge per bunch
Normalized on the charge per pulse

## Slide 30
RUN in 2020-09
#Bunches  20 10 5 1 40
Charge per bunch  379 397 394 380 269 [pC]
Bunch length  4.38 4.24 3.91 3.30 3.48 [ps]
3x 3x 3x 3x 3x
New experimental results – IV (#bunches/charge/bunch-length)
Kick/Model

## Slide 31
RUN in 2020-09
#Bunches  20 10 5 1 40
Charge per bunch  379 397 394 380 269 [pC]
Bunch length  4.38 4.24 3.91 3.30 3.48 [ps]
3x 3x 3x 3x 3x
New experimental results – IV (#bunches/charge/bunch-length)
Kick/Model
Kick/Model

## Slide 32
New experimental results – III & IV
(20 bunches) – 2 bunches – 5 bunches – 10 bunches – 20 bunches -- 40 bunches

## Slide 33
New experimental results – III & IV
(20 bunches) – 2 bunches – 5 bunches – 10 bunches – 20 bunches -- 40 bunches
Kick/Model

## Slide 34
New experimental results – III & IV
(20 bunches) – 2 bunches – 5 bunches – 10 bunches – 20 bunches -- 40 bunches

## Slide 35
New experimental results – III & IV
(20 bunches) – 2 bunches – 5 bunches – 10 bunches – 20 bunches -- 40 bunches
Kick/Model

## Slide 36: Consideration «TODO list»
Add some error bars (charge/bunch length) to understand if the span can be driven from the charge.
Some bad scans to be understood!
Improve the screen resolution: I- for the screen before the structure to improve the bump calibration (done!), and II- for the screen after the structure to improve the resolution of the scan
Use during the scan a closer charge (and position) monitoring (i.e., iBPM) would be needed.
Work on the beam condition – try to have only one parameter changing at the time
We have the confirmation that the short range are dominant…. But we see that after all the normalization there is still a trend related with the charge. We are currently investigating this trend.

## Slide 37
Future development
E-Field in Frequency Domain (@ 11.9942 GHz)
Design of a new mover (SAS-like) is already done to allow scans moving the structure.
Take action on the CLIC cavity BPM
Collaboration with the X-Box team for performing CST simulation

## Slide 38
Thanks for your attention

## Slide 39
Backup slides

## Slide 40
•All the preliminary scans were done to understand the limitation of the method
•The main limitation comes from a mechanical constraint while limiting the aperture.