## Slide 1
Sources for high dose rate electron and proton
irradiation at the ELBE center Dresden
U. Schramm
Helmholtz-Zentrum Dresden-Rossendorf
Very High Energy Electron Radiotherapy Workshop (VHEE'2020)

## Slide 2
Sources for high dose rate electron and proton
irradiation at the ELBE center Dresden
SRF CW electron linac
PW laser driven plasma
accelerators
Clinical cyclotron and
other reference sources
(operated as open user facilities)

## Slide 3
Electron beam (few 10 MeV) in air at variable pulse
sequence and pulse dose
ELBE Center for high power radiation sources
Advanced laser plasma accelerator development

## Slide 4
ELBE Center for high power radiation sources
Linear SRF accelerator with variable
pulse sequence (max. rate 13 MHz)
Short pulses (5ps) –> high dose rate
~109 Gy/s
3x105 Gy/s
pulse
mean dose rate
Total dose determined by:
- length of pulse train: e.g. 1400 pulses in 0.11ms -> 33 Gy
- bunch charge (between fC and ~100pC)

## Slide 5
FLASH Experiments at ELBE (c.f. E. Beyreuther on Monday)
Linear SRF accelerator with variable
pulse sequence (max. rate 13 MHz)
Short pulses (5ps) –> high dose rate
~109 Gy/s
3x105 Gy/s
pulse
mean dose rate
Length of zebra fish embryos (28 hpf) depends on dose rate (and oxygen conc.)
103 Gy/s
7 Gy /min mean

## Slide 6
First in-vivo proton irradiation at a compact laser plasma accelerator
compact plasma accelerator
pulsed poly-chromatic beam
high single pulse dose (rate)
high power laser
compact pulsed magnet beam transport
generation of flat dose distribution in single pulse
non-standard dosimetry
dedicated tumor model
(mouse ear)
taking advantage of (and studying the role of) unique beam proporties

## Slide 7
12,3 MeV
1 cm
18,6 MeV
2-solenoid Setup
vacuum
air
d [mm]
Dpulse [mGy]
RCF #
Proton beam characteristics

## Slide 8
Recent progress in proton energies and operational stability
2017
2019
Tailoring the plasma for optimal efficiency
(either directly or via tailoring the laser pulse)
T. Ziegler, et al., arxiv:2007.11499 (2020)
(based on ~15 J laser energy)

## Slide 9
First in-vivo proton irradiation at a compact laser plasma accelerator
transfering intense
poly-chromatic proton pulse
into flat depth-dose
Chart: accumulated dose delivery
 | 0.45165 | 0.41547 | 0.48895 | 0.55356 | 0.55356 | 0.5404 | 0.5404
 | 0.69156 | 0.40367 | 0.32466 | 0.5404 | 0.38044 | 0.66304 | 0.63498
 | 0.72052 | 0.43947 | 0.30329 | 0.60737 | 0.1697 | 0.69156 | 0.5404
 | 0.59374 | 0.36902 | 0.35773 | 0.45165 | 0.58023 | 0.74993 | 0.77977
 | 0.67724 | 0.35773 | 0.38044 | 0.38044 | 0.63498 | 0.59374 | 0.48895
 | 0.66304 | 0.36902 | 0.39199 | 0.63498 | 1.0844 | 0.84076 | 0.4764
 | 0.46396 | 0.45165 | 0.55356 | 0.59374 | 0.59374
 | 0.50163 | 0.45165
 | 0.50163 | 0.56683
absolute and relative online dosimetry enables
monitoring of accumulated prescribed dose

## Slide 10
Maximum dose at single pulse for studying dose rate effects
Optimization of transport filter for maximum pulse dose rate of
up to 20 Gy in few ns
(reduction of stability and
prescribed dose control)

## Slide 11
Laser plasma proton acceleration
Demonstration of system readiness
for systematic in-vivo radiobiology studies
(incl. full-scale reference irradiation protocols …)
for investigation of high dose rate effects
for providing a compact platform for reference data generation

## Slide 12
Laser wakefield electron acceleration (VHEE)
J. Couperus, et al., Nat. Commun. 8, 487 (2017)
focal plane signal [MeV]
Orthogonal plane signal / divergence
5 25 100 180 350

## Slide 13
Laser wakefield electron acceleration (VHEE)
Stable beam generation in the multi 100 MeV range
Up to 500 pC charge at up to 10 (1) Hz repetition rate
Bunch duration only ~10 fs (compare ELBE 5 ps)
(thus increasing pulse dose rate by x1000)
Compact source for VHEE but (still) limits in average dose rate

## Slide 14
K. Zeil, J. Metzkes-Ng, C. Bernert, F. Brack, S. Kraft, F. Kroll, L. Obst-Huebl,
M. Rehwald, M. Reimold, H.P. Schlenvoigt, T. Ziegler, et al.
A. Irman, J. Couperus, J. Krämer, A. Köhler, T. Kurz, S. Schöbel, O. Zarini, et al.,
M. Bussmann, A. Debus, R. Pausch, K. Steiniger, A. Hübl, T. Kluge, M. Garten, et al.
J. Pawelke, E. Beyreuther, et al.,
M. Siebold, D. Albach, S. Bock, R. Gebhardt, U. Helbig, M. Löser, T. Püschel, et al.
U. Schramm, T. Cowan, R. Sauerbrey