## Slide 1
D. Alves, L. Grech
BE-BI
BBQ peak finding

## Slide 2
The curse of the 50Hz

## Slide 3
BBQ – present algorithm

## Slide 4
BBQ Settings
Use-case FAST
Use-case FB
IIR ON → α = 0.5
Med filter ON → LEN = 5 samples
Mov avg ON → LEN = 5 samples
Refined peak search DONE despite begin configured as DISABLED – width = 1 sample
3 pt Gaussian fit ON
IIR OFF
Med filter OFF
Mov avg OFF
Refined peak search DONE despite begin configured as DISABLED – width = 2 samples
3 pt Gaussian fit ON

## Slide 5
Use-case FAST
Use-case FB

## Slide 6
The curse of the 50Hz
Present peak finder algorithm attempts to estimate tune from spectrum polluted with 50Hz harmonic content
  It neither completely rejects or makes use of this knowledge
  Often the tune estimate jumps from 50Hz line to 50Hz line

## Slide 7
BBQ peak finding – a different approach
  Frequencies of 50Hz harmonic content are fairly deterministic
  Drop spectral points corresponding to 50Hz noise harmonics
  End up with a spectrum with periodic gaps
  Fit the data with gaps
    Need methods that can cope with unevenly sampled data
  Estimate tune (peak finding)

## Slide 8
BBQ peak finding – a different approach
Polynomial fit
Weighted moving average
Gaussian processes
L. Grech et al, “An alternative processing algorithm for the tune measurement system in the LHC”, IBIC’20

## Slide 9
Polynominal fit

## Slide 10
Weighted Moving Average – 1/2

## Slide 11
Weighted Moving Average – 2/2

## Slide 12
Gaussian processes – 1/2
Observed data (x1,y1) – black pts
P(x1,y1)~N(μ1=m1(x), Σ1=k(x,x))
Predict y2 at unobserved pts x2
P(y2|x1,y1,y2) ~N(μ2|1=m2|1(x), Σ2|1=k(x,x))
As both distributions are jointly normal, it is possible to relate both parametrisations
https://peterroelants.github.io/posts/gaussian-process-tutorial/

## Slide 13
Gaussian processes – 2/2

## Slide 15
Generated spectrum can be fairly realistic

## Slide 16
Performance comparison of algorithms with simulated spectra
Needs to be cross-checked and re-done!

## Slide 17
Real data