## Slide 1
CAST Proposal and Status Report
139th Meeting of the CERN SPSC
K. Zioutas,
University of Patras,
on behalf of CAST Collaboration
and external collaborators
M. Vogelsberger (MIT) & A. Kryemadhi (Messiah U.)
(CERN-SPSC-2020-022 / SPSC-SR-277 02/10/2020
http://cds.cern.ch/record/2738387 )
CERN, 13th October 2020

## Slide 2
About CAST
Presently: 10 theses

## Slide 3
With less than 2 months of data taking, the CAST-CAPP cavity experiment managed to cover a significant fraction of previously unexplored parameter DM axion space in the range 19.7 to 22.4 μeV (4.7 to 5.5 GHz), and exceeded the previous limits by ADMX-Sidecar by far. CAPP is a sub-detector of CAST with 4 resonance cavities. It is the full realization of the conceptual idea from 2011 and transforms CAST from an axion helioscope to an axion haloscope. Since 2019 data are taken with individual cavities as well as with all 4 cavities phase matched (=coherently). The experiment is not yet running under optimal conditions and further optimizations are already being prepared. These will improve the sensitivity even further and will lead to world-leading results. The full previously granted data taking time of 6 months, which due to the COVID19 pandemic would extend into 2021, is essential to achieve the planned sensitivity. To fully exploit its sensitivity, we have recently installed a second spectrum analyser which measures simultaneously the ambient electromagnetic noise. CAST-CAPP has pioneered the new technology of fast scanning and phase-matching of multiple cavities, which is capable to detect transient events from streaming dark matter or axion mini-clusters. An unambiguous detection of such events requires an independent detector at another location. We are currently in contact with the IBS Korea on the possibilities to facilitate establishment of a second detector there.
From the CAST report to SPSC: http://cds.cern.ch/record/2738387/files/SPSC-SR-277.pdf
ABSTRACT

## Slide 4
CAST Motivation:
Dark Universe
Direct DM search
@ CERN
CAST’s approach: 1 out of 3 methods
…. Axions  strong CP problem & DM & solar axions
…. Chameleons  DE
Solar axions: NATURE Phys.13(2017)584

## Slide 5
P. Sikivie
CAST
Axion - source
Axion - conversion
g
×
B2
Working principle:
a-helioscope
a-haloscope
↓
↓
E2
~100 ktons of axions/s overlooked?
Eaxion

## Slide 6
g
B
X
virtual
α
CAST

## Slide 7
>>> + 2nd XRT
a CAST “first”
in astroparticle physics
still

## Slide 8
Solar axions (DM)  solar chameleons (DE)
< 4 keV > < 1 keV >
2003- K.Z., P. Brax PR D85(2012)043014

DM axions
OK.Baker, …, K.Z.
PR D85(2012)035018
9authors / 7Institutes
with dipole magnet:
(<m eV)

CAST
3 “first” done:
2019-
2013-
Fast tuning  a-transients
Phase matched cavities
 coherence
Unexplored axion mass
Initially:

## Slide 9
<1999 CAST 2020
AxionPhobia AxionEuphoria

## Slide 10
CAST – CAPP >> DM axions
Theses: Marios Maroudas
Kaan Özbozduman
+ transients
https://arxiv.org/abs/1703.01436
https://doi.org/10.1111/j.1365-2966.2011.18224.x
https://doi.org/10.1088/0004-637X/814/2/122
https://doi.org/10.1093/mnras/stx1474
Cavity axion - haloscope

## Slide 11
DATA-TAKING RESULTS
FAST TUNING & 4 PHASE-MATCHED CAVITIES!
Increase sensitivity by combining coherently the read-outs from several cavities:
So far:: 0 h
TOTAL Phase Matched cav’s:
448.9 h (18.7days) & 125 MHz

## Slide 12
DATA-TAKING RESULTS
BACKGROUND DATA (B=OFF)
Goal: Comparison of frequencies with significant power excesses between B=ON & OFF
So far:378.3h (15.8d)
ies: 4.2h (0.2days)
TOTAL BKG: 442.9 h (17.6 days) & ~150MHz
Frequency =>
In time domain
POWER

## Slide 13
DATA ANALYSIS
Results from all data

## Slide 14
Histogram of the grand spectrum with a gaussian fit (in red). The outliers being scrutinized are the ones on the right side of the red curve.
outliers
DATA ANALYSIS
Results

## Slide 15
DATA-TAKING RESULTS
BACKGROUND (Environmental EMC NOISE)
Therefore: A simultaneous independent measurement with a second spectrum analyzer connected to an external antenna measuring the EM noise in the CAST area = A MUST: NOW INSTALLED!
frequency
Frequency =>
07/2020
POWER

## Slide 16
DATA-TAKING & Environmental EMC NOISE
Simultaneous comparison of data from cavities with EMC data
Cavity 4 EMC noise in CAST area
The noise bump 
Frequency =>
Both are in the frequency domain: FFT by the SA
Power excess
Frequency =>

## Slide 17
DATA ANALYSIS
Exclusion plot assuming Galactic DM axions
Spikes correspond to longer measurement times.
For comparison ADMX is also given
09/2019 10/2020
progress
PRELIMINARY
So far data-taking time with single & PM cavities and B=ON: 1461 hours
(60.9 days).

## Slide 18
DATA-TAKING RESULTS
FAST TUNING (SINGLE CAVITIES)
Fast cavity tuning takes advantage of possible DM transients: streams / clusters
 gravitational (self-)focusing  flux enhancement.
Special case free fall with low speed: ~46 km/s at 1 AU! [Adrien Leleu]
In total with single cavity and B=ON: 1013.2h (42.2 days) & ~660 MHz
Tidal streams

## Slide 19
DATA ANALYSIS
SENSITIVITY plot for DM axions including flux enhancement
Improvement due to streaming DM axions or axion-miniClusters lasting ~1 hour and for an increased flux by factor 103±1  parasitically sensitive also to cosmological axion transients
10/2020
PRELIMINARY
Due to gravitational lensing (by sun, …., Moon) or axion mini-clusters

## Slide 20
Comparison with ADMX around 0.5 - 0.8 GHz
CAST (660 MHz) vs. ADMX (200 MHz)
@~5 GHz @ <0.8 GHz
Higher axion mass  a-Haloscopes less sensitive
=> volume effect

## Slide 21
Future PROSPECTS
DATA taking
Projected relic axion detection sensitivity with the remaining 4 months (of the previously granted 6 months in total) of data taking.
Modest Flux enhancement due to streams / clusters reaches sensitivity to QCD axions.

## Slide 22
~2 months of data taken over the summer. We managed to cover a significant fraction of previously unexplored parameter axion space in the range of 19.7 to 22.4 μeV and exceeded the previous limits by ADMX-Sidecar by far.
Data taken with individual cavities as well as with all 4 cavities phase matched (=coherently).
More optimizations to extend the sensitivity even further are already being prepared and will result to world-leading results.
The full previously granted data taking time of 6 months, which due to COVID-19 would extend into 2021, is essential to achieve the planned sensitivity.
To fully exploit its sensitivity, we have recently installed a second spectrum analyser which measures simultaneously the ambient EM noise.
CAST-CAPP has pioneered the new technology of fast scanning and phase-matching of multiple cavities, which is capable to detect transient events from streaming dark matter or axion miniclusters.
an unambiguous detection of such events requires an independent detector at another location, therefore we are currently in contact with IBS Korea on the possibilities to facilitate the establishment of a 2nd detector there.
CAST – CAPP conclusions

## Slide 23
Other CAST activities
in parallel and parasitically to CAST-CAPP

## Slide 24
CAST – Rades >> DM axions
Theses: Sergio Arguedas Cuendis
Jessica Golm
José María García Barceló
Cavity axion haloscope
>>> R&D for babyIAXO.

## Slide 25: For 2020 data taking
Increase of the detection volume by a factor 5 using a more complex cavity geometry relying on alternating irises theoretically shown to be more scalable than the previous cavity. The damaged cryogenic amplifier was replaced and has been functioning as expected.
RADES 1m long cavity

## Slide 26: RADES 1m long cavity
The 2020 cavity Q-value is lower than expected.
Its EM response is also more complex and requires further characterization which are currently taking place.
Data taking with this cavity is ongoing.
Important R&D for babyIAXO.
Axion peak
simulation
measurement

## Slide 27: CAST-RADES preliminary exclusion limit
CAST-RADES exclusion limit using 2018 data-set in the context of other haloscope experimental results. Our result provides the strongest exclusion limit for an axion mass above 30 µeV.

## Slide 28
CAST Micromegas detector
Theses: Cristina Margalejo Blasco,
Héctor Mirallas
Solar axion search(DM)
with a new detector & the 2nd XRTelescope: first xenon data 
Important R&D for any future solar axion search , e.g. babyIAXO.

## Slide 29
Xenon runs - calibration
Fe55 spectrum: Hit channels
Fe55 spectrum: All channels
Xe + 50% Ne + 2.3% isobutane | Energy threshold | Resolution @ 5.9keV | Gain (5.9 keV peak in ADC)
Hit channels | 1100 eV | 37% | 5000
All channels | 700 eV | 19% | 8000
Small peak at low energies (1 - 1.5keV). Possible fluorescence?
  Simulations will help define its energy.
  It will be useful for a better energy calibration at low energies.
  The argon fluorescence peak at ~3 keV no longer appears,
  reducing background level in that energy range. >> IMPORTANT!
NATURE Phys.13(2017)584
3 keV

## Slide 30
2.1x10-6 c/keV/cm2/s
Raw spectrum (113.5h)
Generic cuts
Xenon runs – background spectrum 224.5 h
1.2x10-6 c/keV/cm2/s
Generic cuts and veto
6x10-3 c/keV/cm2/s
Preliminary
Includes only 1-prong events
Background level for 1-prong events after
generic cuts based on 55Fe calibrations with Xenon
3 keV
3 keV
30
NATURE Phys.13(2017)584

## Slide 31
Summary
Ar+2.3% isobutane 2019 data taking campaign
  ~120 hours of tracking
  Background ~2x10-6 c/keV/cm2/s
  Analysis tools under development to achieve higher efficiency
Ar+2.3% isobutane 2020 data taking campaign
  ~35 hours of tracking
  Improved electronics configuration
Xe+50%Ne+2.3% isobutane 2020 data taking campaign
  35 hours & 23 trackings
  Saving all channels allows us to have higher gain, better energy resolution, lower energy threshold, and potentially better X-ray selection algorithms
Develop new analysis strategy that matches the new electronics configuration
Understand the differences we observe among different data taking campaigns and with the X-ray tube
Perform simulations for the different phenomena we observed
Possible re-calibration of the detector in the X-ray tube
Next steps

## Slide 32
InGrid
solar chameleons (dark energy) & low energy solar axions (DM)
with a sensitive low energy x-ray detector
Integrated Grid

## Slide 33: InGrid
Data analysis of the 2017/18 data nearing completion on the software
side.
Analysis framework including limit calculation is done.
Background rate still preliminary, due to:
usage of detector vetoes via scintillators to be finalized (cut values to be fixed)
GridPix(= Timepix + InGrid). Outer 6 GridPix validation for background rate over whole chip outstanding (=> understand clusters near chip edges
- data lossy, gap between chips)
Possible improvement from better FADC utilization
significant variation of photo peak position (in charge or pixels) of ⁵⁵Fe calibration data observed. Current energy calibration suffers possible bias because of this. Excess of 2017/18 in plot near 4 and 9.5 keV likely due to overestimate of energy in part of dataset.
Finally, a structured check of the whole analysis pipeline is ongoing
to verify no major bugs are hiding, by validating all intermediate steps.

## Slide 34: Status of the KWISP detector
Working group: J. Baier, D. Božičević, G. Cantatore, S. Cetin,
H. Fischer, A. Gardikiotis, M. Karuza, Y. Semertzidis, K. Zioutas
Theses: Justin Baier
Martin Markanovic
Dorotea Bozicevic
Detection by radiation pressure
on a Si3N4 nano - membrane

## Slide 35: KWISP current version overview
KWISP 3.5
  Fabry-Pérot interferometer with full fiber-optic beam transport
  improved monolithic optics design
  uncoated membrane
  “sandwich-type” passive vibration isolation
  built-in force calibration with auxiliary beam
  DMD chopper
KWISP 1.5
  Michelson interferometer
  monolithic design
  high density Pt coated membrane
  “sandwich-type” passive vibration isolation
  “chopper-less” detection
Already acquired ~ 9h of sun-tracking data
Data taking continues
Short sun-tracking run in January 2020
Presently under test
and calibration in
the laboratory
35

## Slide 36: KWISP 1.5 status
Parasitic tracking performed in January 2020 with KWISP 1.5
  Sensitive to a static force ⇒ change in the frequency of the membrane mechanical resonant mode
  Now under calibration in the laboratory to check for long term pressure and temperature effects
  Preliminary force sensitivity in the pN range
Sample KWISP 1.5 data from the 23/1/2020 sun tracking run
The linear trend can be interpreted as due to the variation of the component of the gravity force normal to the membrane surface when the CAST magnets tilts vertically
36
FORCE =>
TIME =>

## Slide 37: KWISP 3.5 calibration
KWISP 3.5 is home made
  stable lock under vacuum
  successful direct force calibration with built in auxiliary 532 nm laser beam (amplitude-modulated at a controlled frequency)
  Preliminary sensitivity estimate from direct calibration
  8∙10−12 N⁄ √Hz @ 2.5 kHz
Direct force calibration near the chopper expected frequency of operation (~2.5 kHz)
applied force peak
“no” peak
External force OFF
External force ON

## Slide 38: KWISP 3.5 preliminary sun-tracking runs
July 2020: Installation
August 2020: Sun-tracking- parasitically, no magnetic field needed
  Sun tracking data: 11 hours.
  Background & Calibration: 21.3 hours.
  Preliminary sensitivity 28 pN/√Hz
No solar signal yet
Minimum force detected in 275 s was ~3.3 pN, MORE DATA AVAILABLE: ~30000 sec. Therefore,
>10× better min detected force
Avg. noise level
5σ level
Avg. noise level
calibration run
tracking run
calibration frequency
chopper frequency
5σ level

## Slide 39: KWISP next steps
KWISP 3.5
  Complete analysis of taken data
  faster online calibration (under way)
  continue taking solar data as long as possible
KWISP 1.5
  study long term stability
>>> parasitically

## Slide 40
~2 months of data taken over the summer, now stopped up to mid of November due to water tower maintenance (not related to CAST).
Fast tuned & phase matched cavities pioneered by CAST.
The full previously granted data taking time of 6 months, which due to COVID-19 would extend into 2021, is essential to achieve the planned sensitivity.
The missing 4 months of data taking are extremely important for the theses of our students.
The estimated remaining data taking time for 2020 is less than 1 month. For the DM search the efficiency is
~18 h/24.
CAST conclusions

## Slide 41
Backup slides

## Slide 42
DATA ANALYSIS
Beyond the ~5kHz signal search
Histogram of the combined spectrum with a gaussian fit (in red). Combined spectra are more appropriate for DM transients due to non-restriction to a ~5kHz signal search.

## Slide 43
DATA ANALYSIS
Results
Combined spectra are more appropriate for transients (no width constraint).