## Slide 1: Hereward Damping Peak Detector for the PS accelerator.
Pierre Hawil

## Slide 2: Table of contents
Introduction
  Bloc schematic
Description of a few blocks I have worked on
  Attenuation
    Chosen configuration
    Results in LTSpice simulations
  Peak Detector RF
    Several possibilities for the demodulation
      Schematic of the several possibilities
      PCB in Altium
    Results of measurements doing on a bord
      Configuration of the simple diode
      ADL5511
Conclusion

## Slide 3: Block schematic
Beam f
Pick
Up
RF Cavity
New PCB to develop
Main Voltage Program
AVC
Serial stream
(CVORB)
New PCB to develop
RF Peak Detector
ADC
FPGA
P1
VME
P2
Backplane
Opto-isolated block
CVORB
Pick up
CVORB
Attenuator
LHC Low Level Chassis
CVORB
Latch Enable &
Parallel Control
SPI
10 MHz matrix
Bunch with quadrupole oscillation
Demodulation and amplification

## Slide 4: Attenuation
Configuration of attenuation we have chosen is
Two solutions exist

## Slide 5: Attenuation
Resistive power splitters
Each splitter has 3 resistors of 16.7 because 16.7 * 3 = 50

## Slide 6: Results in LTspice
Line transmission
Parameters for Line transmission:
0.03 meter
284nH per meter (see next slide)
111pF per meter (see next slide)

## Slide 7: Origine of the values L and C

## Slide 8: Results in Ltspice with diode clamp
Diode clamp before the loading => not OK

## Slide 9: Results in Ltspice with diode clamp
Diode clamp after loading => OK

## Slide 10: Attenuation
Using a Power splitter combiner instead of a Resistive power splitter ?

## Slide 11: Schematic

## Slide 12: Schematic
The configuration has been duplicated because the demodulated signal goes to an ampli-op and it’s preferable to have the same configuration on the two inputs of the ampli-op.

## Slide 13: PCB realized in Altium

## Slide 14: Breadbord of the simple diode configuration
Lab power supply

## Slide 15: Simple Diode - Oscillograms
Carrier Frequency

## Slide 16: Simple Diode - Oscillograms
What happens if we goes up to 70MHz
Carrier Frequency

## Slide 17: Making a plot of linearity
Desactivate MOD ON
Change the Level (Input Power)
Write down the Vpp and Vmean values for the different levels
Carrier Frequency

## Slide 18: Plot of the linearity for the breadbord
Chart: Linearity of the diode
| 5.0999999999999997E-2 | 5.3999999999999999E-2 | 5.8000000000000003E-2 | 0.06 | 6.3E-2 | 6.6000000000000003E-2 | 6.8000000000000005E-2 | 7.0999999999999994E-2 | 7.5999999999999998E-2 | 8.2000000000000003E-2 | 8.6999999999999994E-2 | 9.6000000000000002E-2 | 0.104 | 0.112 | 0.12 | 0.13300000000000001 | 0.14699999999999999 | 0.16200000000000001 | 0.17799999999999999 | 0.19800000000000001 | 0.216 | 0.24199999999999999 | 0.26 | 0.29499999999999998 | 0.32600000000000001 | 0.36199999999999999 | 0.40600000000000003 | 0.45600000000000002 | 0.504 | 0.56799999999999995 | 0.63200000000000001 | 0.71199999999999997 | 0.78800000000000003 | 0.88400000000000001 | 0.99199999999999999 | 1.18 | 1.32 | 1.46 | 1.64 | 1.83 | 2.0499999999999998 | 2.27
 | 1.4676 | 1.4676 | 1.4692 | 1.4692 | 1.474 | 1.474 | 1.4753 | 1.4753 | 1.476 | 1.4767 | 1.478 | 1.4787 | 1.482 | 1.482 | 1.488 | 1.4907 | 1.4947 | 1.506 | 1.5133 | 1.5173 | 1.524 | 1.533 | 1.5433 | 1.554 | 1.57 | 1.579 | 1.595 | 1.614 | 1.638 | 1.66 | 1.69 | 1.72 | 1.76 | 1.81 | 1.85 | 1.9 | 1.96 | 2.02 | 2.09 | 2.18 | 2.27 | 2.36
Level from -31dBm up to 10dBm

## Slide 19: ADL5511
For the demodulation, instead of the configuration with a diode, we can choose an integrated circuit

## Slide 20: ADL5511 Evaluation board
Directly connected to the Lab Power Supply

## Slide 21: Oscillogram of demodulation
Carrier frequency = 200MHz
Offset = 1.1V
Datasheet

## Slide 22: Plot of the linearity of the board evaluation
Chart: Linearity of ADL5511
| 1.52E-2 | 1.7399999999999999E-2 | 1.9599999999999999E-2 | 2.46E-2 | 2.7E-2 | 2.98E-2 | 3.3000000000000002E-2 | 3.6799999999999999E-2 | 4.0800000000000003E-2 | 4.5199999999999997E-2 | 5.04E-2 | 5.5599999999999997E-2 | 6.2799999999999995E-2 | 7.0000000000000007E-2 | 7.8E-2 | 9.5000000000000001E-2 | 0.105 | 0.115 | 0.129 | 0.14299999999999999 | 0.159 | 0.17799999999999999 | 0.19900000000000001 | 0.221 | 0.24399999999999999 | 0.27500000000000002 | 0.30199999999999999 | 0.34399999999999997 | 0.38200000000000001 | 0.43 | 0.47 | 0.54 | 0.6 | 0.68 | 0.76 | 0.85199999999999998 | 0.95199999999999996 | 1.1100000000000001 | 1.23 | 1.36 | 1.52 | 1.72
 | 1.14 | 1.14 | 1.14 | 1.14 | 1.14 | 1.14 | 1.15 | 1.15 | 1.15 | 1.15 | 1.15 | 1.16 | 1.16 | 1.16 | 1.17 | 1.18 | 1.18 | 1.19 | 1.2 | 1.2 | 1.21 | 1.22 | 1.23 | 1.24 | 1.25 | 1.27 | 1.29 | 1.31 | 1.33 | 1.36 | 1.38 | 1.42 | 1.45 | 1.49 | 1.55 | 1.6 | 1.65 | 1.72 | 1.79 | 1.87 | 1.96 | 2.07

## Slide 23: Conclusion
What have been done
  Exploring several possibilities for making demodulation
  Validate the demodulation with the values of the components I have chosen
  Notice that an integrated circuit can be more linear than a diode
What will be done in the near futur
  Finish the PCB in Altium
  Order the PCB to eventually choose the best solution for demodulation