## Slide 1
XLS – Ka Band TW-Linearizer
Overview
A. Castilla, G. Burt
Lancaster University
Oct. 30th 2020.

## Slide 2: Single Cell Recap
/2
Parameter |  | 150deg |  |  |  | Units
Freq. | 36 |  |  |  |  | GHz
Q | 4392 | 5251 | 5251 | 5365 | 5365 | --
 | 106 | 109 | 109 | 109 | 109 | M/m
 | 0.122 | 0.138 | 0.138 | 0.145 | 0.145 | c
 | 0.7 | 0.5 | 0.5 | 0.5 | 0.5 | m-1
 | 2.6 | 3.1 | 3.1 | 3.0 | 3.0 | MV/m
 | 3.96 | 3.86 | 3.86 | 3.85 | 3.85 | mm
 | 2.00 |  |  |  |  | mm
 | 2.78 | 3.47 | 3.47 | 3.57 | 3.57 | mm
 | 0.60 |  |  |  |  | mm
 | 1.00 |  |  |  |  | mm
*normalized to |  |  |  |  |  | 
Parameter |  | 150deg |  |  |  | Units
Freq. | 36 |  |  |  |  | GHz
Q | 4392 | 5251 | 5251 | 5365 | 5365 | --
 | 106 | 109 | 109 | 109 | 109 | 
 | 0.122 | 0.138 | 0.138 | 0.145 | 0.145 | c
 | 0.7 | 0.5 | 0.5 | 0.5 | 0.5 | m-1
 | 2.6 | 3.1 | 3.1 | 3.0 | 3.0 | MV/m
 | 3.96 | 3.86 | 3.86 | 3.85 | 3.85 | mm
 | 2.00 |  |  |  |  | mm
 | 2.78 | 3.47 | 3.47 | 3.57 | 3.57 | mm
 | 0.60 |  |  |  |  | mm
 | 1.00 |  |  |  |  | mm
A. Castilla – ULANCS Oct 30th 2020

## Slide 3: 10cm (15cm effective) Travelling Wave Structure
E-Field
H-Field
G. Burt, A. Castilla (ULANCS)
A. Castilla – ULANCS Oct 30th 2020

## Slide 4: 12cm Travelling Wave Structure
Ok matching.
<2% field flatness.
G. Burt, A. Castilla (ULANCS)
A. Castilla – ULANCS Oct 30th 2020

## Slide 5
Parameter | Value | Units
Structure length | 0.1 | m
Wake length | 1.0 | m
Bunch sigma | 0.3 | mm
Bunch charge | 75 | pC
Wake-loss-factor | 2.103152e+02 | V/pC
Long. Wakes

## Slide 6: Input Coupler Version 2.0
Including a mode converter for low loss transport network.
A. Castilla – ULANCS Oct 30th 2020

## Slide 7: Input Coupler Version 2.0
Including a mode converter for low loss transport network.
A. Castilla – ULANCS Oct 30th 2020

## Slide 8: Pulse Compressor - SLEDII
Compression ratio= Tkly / Tcompressed.
Similar gain curve at different frequencies:
  Shorter structures => Higher compression ratio.
  Longer Input pulse => Higher compression ratio.
Tkly
Tcompressed
X. Wu, W. Wuensch (CERN)
A. Castilla – ULANCS Oct 30th 2020

## Slide 9: 30cm active length
3x 10cm with 54 MW total power (18Mw/structure).
2x 15cm with 40MW total power (20MW/structure).
1x 30cm with 21MW.
For 7.5MV
For 5MV
For 15MV
A. Castilla – ULANCS Oct 30th 2020

## Slide 10: 30cm active length
2x 15cm with 40MW total power (20MW/structure).
1x 30cm with 21MW.
For 15cm length
For 30cm length
A. Castilla – ULANCS Oct 30th 2020

## Slide 11: Single Cell Tolerances
A. Castilla – ULANCS Oct 30th 2020
/2

## Slide 12: Thermal Analysis Ongoing
Relatively large cooling blocks/channels are possible for the small structure.
A. Castilla – ULANCS Oct 30th 2020