## Slide 2: Individual System Tests of MPE systems in LHC post LS2 12-11-2020
  M. Zerlauth, Z. Charifoulline for TE/MPE

## Slide 3
LHC-LS2, EN-ACE-OSS
3
NEW V 3.1 – INWORK Without 11T
This version will be updated following the results of the discussions held on 23/10 with the Experiments

## Slide 4: resource loaded planning V3.0 (obsolete)
S45 and S81 QDS IST and DQHDS and cool-down preparations in S56
IST and DQHDS
remaining sectors
IST and DQHDS
S67
cool-down preparations in S67
QDS IST @ warm cool-down preparations

## Slide 5: resource loaded planning V3.1
S45 and S78 QDS IST and DQHDS and cool-down preparations in S67
IST and DQHDS
S34, S56, S81
QDS IST and DQHDS
S12, S23 and S67
QDS IST @ warm cool-down preparations
TODAY

## Slide 6
Many thanks for your attention!
Questions?

## Slide 7: MPE Individual System Tests
@ warm (before start of cool-down)
  QPS preparation (field team in tunnel)
  Interlock system upgrades and IST (WIC and PIC)
  Current lead Heating System (new system in radiation areas)
  ELQA @ warm (no co-activity)
  Final visual instrumentation inspection before cooldown
@ cold
  600A Energy Extraction IST
  ELQA @ cold (no co-activity)
  QPS IST and DQHDS heater firing campaign (limited / no co-activity)
  Signal integrity checks as part of first low current powering