## Slide 1: Virtual Practical Work on Magnets Part 2: Magnetic Measurements 4th – 5th March 2021
Lucio Fiscarelli
Thomas Zickler
CERN
Joint Universities Accelerator School
JUAS 2021

## Slide 2: Virtual tour in one of our laboratory
  New lab constructed in 2017

## Slide 3: Unterstand the motivation for MM
Magnetic measurements (MM) are performed to:
Characterize soft (iron) and hard (permanent magnets) ferromagnetic materials
Prove that the electro-magnetic design is correct
Monitor production quality and steer manufacturing
Collect information and data for operations: transfer function, field uniformity, magnetic axis, dynamic effects (eddy currents) and cycling effects (hysteresis)
Real-time field measurements for operations
Characterize magnets after repairs or for operations in different ranges
  Field homogeneity reconstructed from rotating coils measurements
  Rotating coil measurement on a model and the final magnet
  Characterization of the BH-curve on samples of magnetic steel

## Slide 4: Explore different MM sensors
No single instrument or method can cover all requirements
  Multiple instruments are complementary
  Overlaps provide estimation of absolute uncertainty and error correction
  Commercial teslameters based on Hall sensors and NMR
  Rotating coils with various diameters, lengths, and coil arrangement
  Concentric induction coils
  FMR marker

## Slide 5: Discover the different MM techniques
  Single stretched wire bench
  3D mapper
  Induction coil magnetometer (“fluxmeter”)
  Rotating coil magnetometer

## Slide 6: Find out about latest developments
  Photodetectors in the vibrating wire system
  Multi-coil fluxmeter for the ELENA curved dipoles
  Digital integrator modules
  Rotating-coil scanner for HL-LHC magnets

## Slide 7: Find out about latest developments
  Compass-laser probe for solenoids
  Translating fluxmeter for FAIR dipoles
  Miniature rotating coil using PCB technology for CLIC
  Large-diameter carbon fibre shaft for FAIR

## Slide 8: And learn…
… how the sensors work and how to chose the right one
  NMR
  Hall sensors
  Induction coils

## Slide 9: And learn…
… how a rotating-coil system works

## Slide 10: And learn…
… how to measure a real magnet (virtually) “hands-on”

## Slide 11: And learn…
… how to analyse and interpret the results

## Slide 12: Additional references
  S. Russenschuck, “Field Computation for Accelerator Magnets: Analytical and Numerical Methods for Electromagnetic Design and Optimization”, Wiley, 2011
  L . Bottura, K. N. Henrichsen, “Field Measurements”, Proceeding of CAS - CERN Accelerator School on Superconductivity and Cryogenics for Accelerators and Detectors, 2002
  A.K. Jain, “Measurements of Field Quality Using Harmonic Coils”, US Particle Accelerator School (USPAS) on "Superconducting Accelerator Magnets“, 2001
  M. Buzio, “Fabrication and calibration of search coils”, Proceedings of CAS - CERN Accelerator School on Magnets, 2009
  L. Walckiers, “Magnetic measurement with coils and wires”, Proceedings of CAS - CERN Accelerator School on Magnets, 2009

## Slide 13: We are looking forward to meet you!
lucio.fiscarelli@cern.ch
Special thanks to my colleagues for providing the material and pictures