## Slide 1
PSB injection webtool
BCT noise in the distributor region induced by pulsing elements Miha and Roman working on the issue
TODO: upgrade of the BPM fesa class with the non linear position calculation feature for the new large aperture BPM

## Slide 2
PSB ring webtool
Frequent reboots of TMS cPCI computer boards now solved by removing the crates from the UPS connected power strips
Issue with one wire scaner

## Slide 3
PSB extraction webtool
Two cameras to be installed in 2021