## Slide 1: Carvings & Carpenter in SM18
Ioannis Koukovinis Platias

## Slide 2: Overview
Main two parts of Carpenter ecosystem:
  Carvings DB: Oracle Database
  Carpenter: web interface to interact with Carvings DB
Other DB access points: OAQ, Wooden Bridge, Status board

## Slide 3: Carvings DB
Oracle Database
Constantly evolving and expanding
At the moment consists of > 40 tables and > 60 views
Currently holding > 380.000 result entries

## Slide 4: Carpenter
Quality Assurance / Quality Control:
  Test progress tracking (who/when/what, results & events)
  Efficient communication between ourselves and other groups
  Allow authorized external users what we are doing in real time
Data processing and storage:
  Store data from selected activities (e.g. quench, HV test)
  Easy statistics and data filtering/mining
  Reporting options

## Slide 5: Carpenter
Item Registration
Assembly Setup
Testplan Creation
Assembly Creation
Multiple magnets on one insert
Stack of diodes
Cryomodule assembly

## Slide 6: Carpenter
Test progress tracking:
  Hierarchical structure to guide and follow the test
  Only test engineer and operators can input data
  Keeps track of what has been done, when, by whom

## Slide 7: Carpenter
Data storage
  Files from analysis software can be loaded and are automatically parsed
  The results can be found in the Carpenter test plan

## Slide 8: Carpenter
Data filtering/mining
  Data can be filtered and then downloaded for further offline analysis
  Future: statistics, training plots, etc.

## Slide 9: Carpenter Versions
Version 1:
  In development from mid-2017 to Q1-2019 by two developers
  Entirely written in PHP
  DFS-hosted website
  Quick deployment
  Technical limitations on technology utilized due to DFS hosting
  Server not configurable
  Lack of standardization

## Slide 10: Carpenter Versions
Version 2:
  Back-end: Laravel Framework (PHP)
  Front-end: JavaScript/HTML/CSS, Bootstrap CSS Framework, Vue.js Framework, jQuery + various js libraries
  PaaS (Platform-as-a-service) web application
  OpenShift Container Platform: PaaS built around Docker containers orchestrated and managed by Kubernetes on a foundation of Red Hat Enterprise Linux
  Dockerbuild and source code on Gitlab (auto deployment)
  Highly interactive and mobile-friendly
  Server totally configurable to current & future needs
  Standardization → Maintainability
  Ensures project’s longevity

## Slide 11: Carpenter Version 2

## Slide 12: Next steps
Release Version 2 officially
Reach 100% functionality of Version 1
Advanced statistics
Automatic report generation / report filtering

## Slide 13: Questions / Comments