## Slide 1: Non-invasive beam measurement using polarization radiation
Pavel Karataev
John Adams Institute for Accelerator Science at Royal Holloway, University of London

## Slide 2: On Behalf of the Collaboration
D. Alves 1, A. Aryshev6, M. Bergamaschi1, M. Billing5,
L. Bobb7, J. Conway5, A, Curcio1, C. Davut9, K. Fedorov2. J. Gardelle4,
S.Y. Gogolev3, D. Harryman2, R.O. Jones1, R. Kieffer1,
P. Karataev2, I. Kishchin8, A. Kubankin8, K. Lasocha1, T. Lefevre1, S. Mazzoni1, N. Mounet1, R. Nazhmudinov8, Y.Padilla Fuentes5, A.P. Potylitsyn3, E. Senes1, J. Shanks5, D.A. Shkitov3, N.Terunuma6,
G. Xia9
CERN, Geneva, Switzerland
John Adams Institute at RHUL, University of London, Egham, UK
Tomsk Polytechnic University, Tomsk, Russia
CEA, France
Cornell University, Ithaca, USA
KEK, High energy Accelerator Organization, Japan
Diamond Light Source, Oxfordshire, UK
Belgorod National Research University, Belgorod, Russia
Cockroft Institute at University of Manchester, Manchester, UK

## Slide 3: What is Polarization Radiation?
a fast charged particle passes by creating a dipole;
the dipole oscillates around the nucleus emitting EM radiation;
depending on the target composition and geometry, this mechanism is responsible for the entire family of polarization radiation
e -

## Slide 4: Polarization Radiation Family
Transition Radiation
Diffraction Radiation
Smith-Purcell Radiation
Cherenkov Radiation
Cherenkov Diffraction Radiation
Parametric X-ray Radiation
Wakefield radiation

## Slide 5: Polarization Current Approach (PCA)
The theoretical approach is based on the method of polarization currents. For a non-magnetic medium the density of the polarization currents in the right-hand side of Maxwell equations
where conductivity is
The field of the Polarization Radiation (PR) emitted by medium atoms excited (polarized) by the external field of the passing particle moving rectilinearly and with constant velocity in a substance (or in its vicinity) can be represented as a solution of Maxwell equations

## Slide 6: Two mechanisms we concentrate on
Transition Radiation
Diffraction Radiation
Smith-Purcell Radiation
Cherenkov Radiation
Cherenkov Diffraction Radiation
Parametric X-ray Radiation
Wakefield radiation

## Slide 7: Two mechanisms we concentrate on
Transition Radiation
Diffraction Radiation
Smith-Purcell Radiation
Cherenkov Radiation
Cherenkov Diffraction Radiation
Parametric X-ray Radiation
Wakefield radiation

## Slide 8: Diffraction Radiation
T. Muto, et al., Observation of incoherent diffraction radiation from a single edge target in the visible light region, Physical Review Letters, 90 (10), p. 104801 , 2003

## Slide 9: ODR experiment at KEK-ATF2 facility
The tank is installed at the virtual interaction point of ATF2 vertical beam can be focused to < 1um .

## Slide 10: ODR imaging as an Optical BPM
There is no visible beam size dependency off the pattern in imaging.
But the vertical position into the slit change the profile asymmetry => Optical Beam Position Monitor (BPM)
Offset
KEK-ATF2 beam
Averaging 100 shots
R. Kieffer, et al., Optical diffraction radiation for position monitoring of charged particle beams, NIMB 402 (2017) 88-91

## Slide 11: ODR angular distribution
250nm
400nm
250nm
400nm

## Slide 12: Visibility vs beam size measured with OTR
As expected sensitivity increase with decreasing wavelength, good sensitivity for UV down to 4-5 micrometers.
Previous measurements minimum was 14
M. Bergamaschi, et al., Non-invasive micron-scale particle beam size measurement using Optical Diffraction Radiation in the ultra violet wavelength range, Physical Review Applied 13, 014041 (2020)
*P. Karataev, et al., Beam-Size Measurement with Optical Diffraction Radiation at KEK Accelerator Test Facility, Physical Review Letters 93 (2004) 244802.

## Slide 13: Vertical Emittance measurements
Good agreement with simulated SAD emittance
Optical background creates difficulties
The slit is very small

## Slide 14: Vavilov-Cherenkov Radiation
Pavel Cherenkov
Sergey Vavilov
First observation in 1934
Nobel prize in 1958
R(t)
O
z(t)
Cherenkov Radiation is generated whenever the charged particle velocity is larger than the phase velocity of light

## Slide 15: Cherenkov Diffraction Radiation
Vertical polarization
gamma = 104, λ = 600 nm, b = 0.8 mm, a = 11.5 mm
Horizontal polarization

## Slide 16: Simulations with ‘Magic’ code
e = 5
d = 10 cm
e = 2.1
Using MAGIC and an electron beam current modulated at a 25GHz propagating at the vicinity of a Teflon cone
PCA model
A. Curcio, et al., Noninvasive bunch length measurements exploiting Cherenkov diffraction radiation, Phys. Rev. AB 23, 022802 (2020)

## Slide 17: Optical/IR ChDR experiment at Cornell
L
ChDR
CESR Ring Circumference | 768.4m
Revolution Time | 2.563 ms
Beam Energy | 2.1 and 5.3GeV
Beam Species | e- and e+
Particles per bunch | 1.6 1010
R. Kieffer et al., “Direct Observation of Incoherent Cherenkov Diffraction Radiation in the Visible Range”, PRL 121 (2018) 054802
Using a 2cm long SiO2 (n=1.46) ChDR target

## Slide 18: Dependence on impact parameter
  Imaging conditions and Radiation power vs Impact parameter
‘Cherenkov photons yield increasing strongly for smaller impact parameter’

## Slide 19: Electron and positron trajectory control
Electron Beam
Positron Beam
The photons produced by electrons and positrons appear on a different zone of the image and give the possibility to high directivity beam measurements

## Slide 20: Optical ChDR experiment at KEK-ATF2
Studying the spatial resolution of ChDR at ATF2/KEK - 2018
ATF2 extraction line | 
Beam Energy | 1.25 GeV
Particles per bunch | 1.6 1010
Achievable beam size H/V (microns) | 100 / 1
Re-using and modifying the hardware used for Diffraction radiation studies
Optical system in the visible
OTR for cross calibration

## Slide 21: Beam profile
Vertical rms: 63.5 um
ChDR Vertical beam profile
OTR Vertical beam profile
Vertical rms is: 67.2 um

## Slide 22: Coherent ChDR experiment at CLARA in Daresbury
A. Curcio, et al., Noninvasive bunch length measurements exploiting Cherenkov diffraction radiation, Phys. Rev. AB 23, 022802 (2020)
f = 10Hz
E = 35 MeV
Longitudinal beam size was about 0.6 ps with charge ranging within 70 - 100 pC
200 microns RMS transversal bunch size
Martin-Puplett interferometer for spectral measurements
S() – radiation spectrum
Se() – single electron spectrum
N – electrons in a bunch
F() – bunch form factor

## Slide 23: CTR and CChDR spectra
A. Curcio, et al., Noninvasive bunch length measurements exploiting Cherenkov diffraction radiation, Phys. Rev. AB 23, 022802 (2020)
(a)
(b)

## Slide 24: CTR and CChDR spectra
A. Curcio, et al., Noninvasive bunch length measurements exploiting Cherenkov diffraction radiation, Phys. Rev. AB 23, 022802 (2020)
Kramers-Knronig method
Energy spread measurement method

## Slide 25: Coherent ChDR experiment at CLEAR in CERN
A. Curcio, et al., Noninvasive bunch length measurements exploiting Cherenkov diffraction radiation, Phys. Rev. AB 23, 022802 (2020)
Cross calibrating using RF deflector
Measuring beam power spectrum in 3 frequency bands
Development of Coherent ChDR for bunch length monitoring

## Slide 26: Coherent ChDR experiment at CLEAR in CERN
A. Curcio, et al., Noninvasive bunch length measurements exploiting Cherenkov diffraction radiation, Phys. Rev. AB 23, 022802 (2020)
Comparison between CChDR and RF deflector

## Slide 27: Coherent ChDR BPM for AWAKE

## Slide 28: Coherent ChDR BPM test at CLEAR
Prototype in-air test:
60 mm diameter aperture (AWAKE)
PTFE radiators
Emission at 45o
In-air detection for flexibility
Zero-bias RF schottky diode detectors in the Ka-band
Motorised support, move the device, not the beam
PTFE inserts
BEAM
ChDR
ChDR

## Slide 29: Coherent ChDR BPM test at CLEAR
BEAM
Sensing the power emitted by opposite radiators to calculate the position
Linear response around the centre

## Slide 30: Bunch-by-bunch measurements
3 BUNCH TRAINS
20 BUNCH TRAINS
WALL CURRENT MONITOR
CHERENKOV RESPONSE

## Slide 31: Coherent Smith-Purcell Radiation
Micro-bunched beam monitoring and bunch profiling using coherent radiation spectrum analysis
I.V. Konoplev , G. Doucas , H. Harrison, A. J. Lancaster
JAI at University of Oxford

## Slide 32: Single Shot CSPR

## Slide 33: Single shot CSPR bunch length diagnostics concept

## Slide 34: Conclusion
Polarization radiation is an efficient mechanism
  Low particle energy loss
  Non-invasive nature of generation
  Large emission angles
  Low coherent radiation background for ChDR
  Multi-parameter monitoring
Beam position, trajectory, transverse and longitudinal profile measurements
  Resolution still has to be understood
  PCA model and EM simulations have to be verified to be able to optimize instruments for different accelerators
  Designs for CLIC, AWAKE and Light Sources

## Slide 35: Conclusion
Short bunch length measurement needs to be verified
  Limited access to the facilities with short enough bunch
Potentially can be applied for
  THz radiation generation
  Particle acceleration
  Energy spread manipulation
  Beam cooling

## Slide 36
Thank you for your time