- the budget foresaw some tasks delayed from 2019

- Consolidation of X0 						10k

- Extra dry gas pipes to X0					10k

- Consolidation in gas room					30k

details below. Work for ZEC

- Calibration of 8 flow meters (spares to swap in)

- for 2021

- Filters + Misc material + 1/5 of buying 3 maintenance kits 		1k

- Dryer SX5 annual maintenance (work + sensor recalibration) 		2k

- Dryer USC55 								2k

- Dryer 186 (work only)							1k

EN-CV/Paola&Jerome

- Operation and Maintenance of gas analyzer				8k (for a student: 16k over 2 years  to be discussed/redefined in w6. 8k/year seems to be not enough)

Gas Team will dismount and take care of chilled mirrors maintenance

- Dry Air Sniffer rack maintenance					4k (no Vaisala calibration included; Vaisala calibration  Andromachi)

- Misc									2k

- Note: from Andromachi:

- P5 Bottles

- Oil bubbler and switchover system verification

- Bld 186 (to be discussed in w6)

Tasks details from 2019:

1) Gas room:

- rack S1J01 supplies detector dry air to cooling bundle flushing (10 lines) and to C6F14 and CO2 cooling cabinets (4), S1J02, S1K02, S1K03

- racks S1J02, S1K02, S1K03 supply from membrane plant to bulkhead flushing (26)

--> one rack could be freed up by placing 13 lines in the other two

(rack S1K06 supplies from membrane plant to Tracker cold volumes)

ZEC+CMS-Tk

2) in X0:

- detector dry air from gas room to cooling cabinets runs through X0;

--> plan to increase flushing capacity by adding unused pipes in X0 -- although, flow can be increased elsewhere

- flushing pixel/strips are supplied by 4 pipes from gas room to X0 racks;

--> pixel could be separated from strips by adding one unused pipe in X0 -- although, pixel can get dry after closing sufficiently fast

ZEC+CMS-Tk

3) displace PV1 valve normally cutting off S1K06 from membrane plant to also cut off S1K07 -- suggested by Erik  to discuss with Andromachi. Slides in indico.

ZEC (we might need to discuss all together)

4) GC: main issues are flagged as not being able to ship data to DB and have online measurement, and limited manpower -- no progress since last time

discussion/update/summary in w6

5) Sniffer rack integration into DT supervision system

not 2021