## Slide 1
Status/ Overview
Infrared laser used, unirradiated strip sensor on the timing board
6 Strips connected to readout, neighbors not grounded
TCT Scan to determine positions, then do timing measurements on certain positions between the strips

## Slide 2
2 Pulses, “Self-reference”
Use of a beam splitter and cable delay -> significantly lower signals, difference in signal height (partially fixed now)
Triggered still by the laser, 20 averaged/ event or sampled

## Slide 3
2 Pulses, “Self-reference”
Voltage dependence as expected
Small position dependence – more pronounced for lower voltages
Values seem to be in the expected range

## Slide 4
LGAD, comparing different measurements
LGAD, 50m thickness
TCT scan showed some interesting features of the used glue
Timing measurements in the opening then
4 Types of measurements:
Laser trigger as reference, 20 waveforms averaged
Laser trigger as reference, sampled
2 pulses, self reference, 20 waveforms averaged
2 pulses, self-reference, sampled

## Slide 5
Comparison

## Slide 6
Comparison
Questions:
Is using the averaging giving me “wrong” good results or can I use it with the laser measurements?
The self-referencing seems to give more reliable results – can I use the sensor itself as timing reference?